## Instrucciones
Welcome to PywerAPM | Module OHL
Calle 46 26-30 of. 605, Bogotá D.C. (+57) 3107669918

## LN
Company | Asset_Type | Serial | ID | Location | Opt_Year | Brand | Model | Type | Replacement | Load | UC
WAKANDA_TSO | LN | 71 | LN_04_05 | BOG_1 | 2006 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 72 | LN _06_11 | BOG_2 | 2006 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 73 | LN _10_11 | BOG_3 | 1998 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 74 | LN_10_13 | BOG_4 | 1997 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 75 | LN_13_14 | BOG_5 | 2015 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 76 | LN_16_19 | BOG_6 | 2006 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 77 | LN_16_21 | BOG_7 | 2010 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 78 | LN_16_24 | BOG_8 | 1997 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 79 | LN_26_28 | BOG_9 | 1997 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 80 | LN_26_29 | BOG_10 | 2007 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 81 | LN_28_29 | BOG_11 | 1997 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 82 | LN_23_24 | BOG_12 | 1997 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 83 | LN_22_23 | BOG_13 | 2007 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 84 | LN_03_18 | BOG_14 | 2006 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 85 | LN_08_09 | BOG_15 | 1997 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 86 | LN_07_08 | BOG_16 | 1997 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 87 | LN_02_25 | BOG_17 | 1997 | mtek | MT121000 | Transfer | False | None | N5S2
WAKANDA_TSO | LN | 88 | LN_01_02 | BOG_18 | 2016 | mtek | MT121000 | Line | False | None | N5S2
WAKANDA_TSO | LN | 89 | LN_25_26 | BOG_19 | 1997 | mtek | MT121000 | Line | False | None | N5S2
WAKANDA_TSO | LN | 90 | LN_17_18 | BOG_20 | 2006 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 91 | LN_26_27 | BOG_21 | 2010 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 92 | LN_17_27 | BOG_22 | 1997 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 93 | LN_16_17 | BOG_23 | 2015 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 94 | LN_15_16 | BOG_24 | 2006 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 95 | LN_14_15 | BOG_25 | 2010 | mtek | MT121000 | Transfer | False | None | N5S2
WAKANDA_TSO | LN | 96 | LN_04_14 | BOG_26 | 1997 | mtek | MT121000 | Line | False | None | N5S2
WAKANDA_TSO | LN | 97 | LN_03_04 | BOG_27 | 1997 | mtek | MT121000 | Line | False | None | N5S2
WAKANDA_TSO | LN | 98 | LN_02_03 | BOG_28 | 2007 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 99 | LN_01_39 | BOG_29 | 1997 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 100 | LN_09_39 | BOG_30 | 1997 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 101 | LN_05_08 | BOG_31 | 2007 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 102 | LN_05_06 | BOG_32 | 2006 | mtek | MT121000 | Transformer | False | None | N5S2
WAKANDA_TSO | LN | 103 | LN_06_07 | BOG_33 | 1997 | mtek | MT121000 | Transfer | False | None | N5S2
WAKANDA_TSO | LN | 104 | LN_21_22 | BOG_34 | 1997 | mtek | MT121000 | Line | False | None | N5S2
Note on H2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Se cambio BLG 1002A por LTB 245E1, preguntar si es valido.
Note on I1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Transformer OHL Switch Transfer
Note on J1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Si tiene respuesto

## Mechanical
Test_ID | Pos | Serial | Location | Date | Aeolian | Torsion | Strength
1 | LN_04_05 | 71 | BOG_1 | 2015-04-22 | 0 | 25 | 100
2 | LN_04_05 | 71 | BOG_1 | 2016-04-23 | 1 | 25 | 100
3 | LN_04_05 | 71 | BOG_1 | 2018-04-24 | 1 | 24 | 100
4 | LN_04_05 | 71 | BOG_1 | 2019-04-25 | 2 | 24 | 99
5 | LN_04_05 | 71 | BOG_1 | 2019-10-26 | 2 | 20 | 100
6 | LN _06_11 | 72 | BOG_2 | 2011-04-22 | 1 | 20 | 100
7 | LN _06_11 | 72 | BOG_2 | 2018-04-22 | 2 | 20 | 100
8 | LN _06_11 | 72 | BOG_2 | 2018-10-22 | 2 | 19 | 100
9 | LN _10_11 | 73 | BOG_3 | 2020-04-22 | 2 | 25 | 92
10 | LN _10_11 | 73 | BOG_3 | 2011-04-22 | 0 | 22 | 86
11 | LN_10_13 | 74 | BOG_4 | 2018-04-22 | 1 | 10 | 100
12 | LN_10_13 | 74 | BOG_4 | 2018-10-22 | 1 | 8 | 100
13 | LN_10_13 | 74 | BOG_4 | 2019-04-22 | 1 | 8 | 100
14 | LN_13_14 | 75 | BOG_5 | 2019-01-22 | 2 | 9 | 100
15 | LN_13_14 | 75 | BOG_5 | 2011-04-22 | 2 | 5 | 100
16 | LN_13_14 | 75 | BOG_5 | 2018-04-22 | 2 | 4 | 100
17 | LN_13_14 | 75 | BOG_5 | 2018-10-22 | 2 | 4 | 100
18 | LN_16_21 | 77 | BOG_7 | 2019-04-22 | 4 | 20 | 100
19 | LN_16_21 | 77 | BOG_7 | 2020-01-22 | 4 | 20 | 100
20 | LN_16_21 | 77 | BOG_7 | 2011-04-22 | 2 | 20 | 100
21 | LN_16_24 | 78 | BOG_8 | 2018-04-22 | 3 | 25 | 100
22 | LN_16_24 | 78 | BOG_8 | 2018-10-22 | 9 | 24 | 100
23 | LN_16_24 | 78 | BOG_8 | 2019-04-22 | 10 | 23 | 100
24 | LN_16_24 | 78 | BOG_8 | 2020-01-22 | 12 | 23 | 100
25 | LN_26_28 | 79 | BOG_9 | 2011-04-22 | 1 | 30 | 100
26 | LN_26_28 | 79 | BOG_9 | 2018-04-22 | 1 | 30 | 100
27 | LN_26_28 | 79 | BOG_9 | 2018-10-22 | 1 | 30 | 100
28 | LN_26_28 | 79 | BOG_9 | 2019-04-22 | 1 | 30 | 100
29 | LN_26_28 | 79 | BOG_9 | 2020-01-22 | 2 | 29 | 100
30 | LN_26_28 | 79 | BOG_9 | 2018-04-22 | 1 | 29 | 100
31 | LN_26_29 | 80 | BOG_10 | 2018-10-22 | 3 | 21 | 100
32 | LN_26_29 | 80 | BOG_10 | 2019-04-22 | 4 | 21 | 100
33 | LN_26_29 | 80 | BOG_10 | 2020-01-22 | 5 | 21 | 100
34 | LN_26_29 | 80 | BOG_10 | 2018-04-22 | 1 | 21 | 100
35 | LN_26_29 | 80 | BOG_10 | 2018-10-22 | 1 | 21 | 100
36 | LN_26_29 | 80 | BOG_10 | 2019-04-22 | 1 | 21 | 100
37 | LN_26_29 | 80 | BOG_10 | 2020-01-22 | 1 | 20 | 100
38 | LN_28_29 | 81 | BOG_11 | 2018-04-22 | 2 | 20 | 100
39 | LN_28_29 | 81 | BOG_11 | 2018-10-22 | 2 | 19 | 100
40 | LN_28_29 | 81 | BOG_11 | 2019-04-22 | 2 | 18 | 100
41 | LN_28_29 | 81 | BOG_11 | 2020-01-22 | 2 | 18 | 100
42 | LN_23_24 | 82 | BOG_12 | 2015-01-23 | 7 | 10 | 100
43 | LN_23_24 | 82 | BOG_12 | 2017-01-24 | 7 | 10 | 100
44 | LN_23_24 | 82 | BOG_12 | 2019-01-25 | 8 | 10 | 100
45 | LN_22_23 | 83 | BOG_13 | 2015-01-23 | 1 | 15 | 100
46 | LN_22_23 | 83 | BOG_13 | 2017-01-24 | 1 | 15 | 100
47 | LN_22_23 | 83 | BOG_13 | 2019-01-25 | 1 | 14 | 100
48 | LN_03_18 | 84 | BOG_14 | 2015-01-23 | 4 | 12 | 100
49 | LN_03_18 | 84 | BOG_14 | 2017-01-24 | 4 | 12 | 100
50 | LN_03_18 | 84 | BOG_14 | 2019-01-25 | 4 | 11 | 100
51 | LN_08_09 | 85 | BOG_15 | 2015-01-23 | 1 | 18 | 100
52 | LN_08_09 | 85 | BOG_15 | 2017-01-24 | 2 | 18 | 100
53 | LN_08_09 | 85 | BOG_15 | 2019-01-25 | 3 | 18 | 100
54 | LN_07_08 | 86 | BOG_16 | 2015-01-23 | 1 | 24 | 100
55 | LN_07_08 | 86 | BOG_16 | 2017-01-24 | 3 | 24 | 100
56 | LN_07_08 | 86 | BOG_16 | 2019-01-25 | 5 | 24 | 100
57 | LN_02_25 | 87 | BOG_17 | 2015-01-23 | 6 | 22 | 100
58 | LN_02_25 | 87 | BOG_17 | 2017-01-24 | 8 | 22 | 100
59 | LN_02_25 | 87 | BOG_17 | 2019-01-25 | 10 | 22 | 100
60 | LN_01_02 | 88 | BOG_18 | 2015-01-23 | 1 | 21 | 100
61 | LN_01_02 | 88 | BOG_18 | 2017-01-24 | 1 | 21 | 100
62 | LN_01_02 | 88 | BOG_18 | 2019-01-25 | 2 | 21 | 100
63 | LN_25_26 | 89 | BOG_19 | 2015-01-23 | 3 | 25 | 100
64 | LN_25_26 | 89 | BOG_19 | 2017-01-24 | 3 | 20 | 100
65 | LN_17_18 | 90 | BOG_20 | 2019-01-25 | 4 | 10 | 100
66 | LN_17_18 | 90 | BOG_20 | 2015-01-23 | 1 | 10 | 100
67 | LN_17_18 | 90 | BOG_20 | 2017-01-24 | 1 | 10 | 100
68 | LN_17_18 | 90 | BOG_20 | 2019-01-25 | 1 | 10 | 100
69 | LN_26_27 | 91 | BOG_21 | 2015-01-23 | 2 | 13 | 100
70 | LN_26_27 | 91 | BOG_21 | 2017-01-24 | 3 | 13 | 100
71 | LN_26_27 | 91 | BOG_21 | 2019-01-25 | 4 | 13 | 100
72 | LN_17_27 | 92 | BOG_22 | 2015-01-23 | 1 | 16 | 100
73 | LN_17_27 | 92 | BOG_22 | 2017-01-24 | 1 | 16 | 100
74 | LN_17_27 | 92 | BOG_22 | 2019-01-25 | 1 | 16 | 100
75 | LN_16_17 | 93 | BOG_23 | 2015-01-23 | 5 | 17 | 100
76 | LN_16_17 | 93 | BOG_23 | 2017-01-24 | 6 | 17 | 100
77 | LN_16_17 | 93 | BOG_23 | 2019-01-25 | 6 | 17 | 100
78 | LN_15_16 | 94 | BOG_24 | 2015-01-23 | 7 | 26 | 100
79 | LN_15_16 | 94 | BOG_24 | 2017-01-24 | 7 | 26 | 100
80 | LN_15_16 | 94 | BOG_24 | 2019-01-25 | 8 | 26 | 100
81 | LN_14_15 | 95 | BOG_25 | 2015-01-23 | 1 | 23 | 100
82 | LN_14_15 | 95 | BOG_25 | 2017-01-24 | 1 | 23 | 100
83 | LN_14_15 | 95 | BOG_25 | 2019-01-25 | 1 | 23 | 100
84 | LN_04_14 | 96 | BOG_26 | 2015-01-23 | 2 | 18 | 100
85 | LN_04_14 | 96 | BOG_26 | 2017-01-24 | 2 | 18 | 100
86 | LN_04_14 | 96 | BOG_26 | 2019-01-25 | 2 | 18 | 100
87 | LN_03_04 | 97 | BOG_27 | 2015-01-23 | 3 | 14 | 100
88 | LN_03_04 | 97 | BOG_27 | 2017-01-24 | 3 | 12 | 100
89 | LN_03_04 | 97 | BOG_27 | 2019-01-25 | 3 | 12 | 100
90 | LN_02_03 | 98 | BOG_28 | 2015-01-23 | 4 | 25 | 100
91 | LN_02_03 | 98 | BOG_28 | 2017-01-24 | 4 | 25 | 100
92 | LN_02_03 | 98 | BOG_28 | 2019-01-25 | 4 | 25 | 85
93 | LN_01_39 | 99 | BOG_29 | 2015-01-23 | 5 | 18 | 100
94 | LN_01_39 | 99 | BOG_29 | 2017-01-24 | 6 | 18 | 100
95 | LN_01_39 | 99 | BOG_29 | 2019-01-25 | 7 | 18 | 82
96 | LN_09_39 | 100 | BOG_30 | 2015-01-23 | 2 | 22 | 100
97 | LN_09_39 | 100 | BOG_30 | 2017-01-24 | 3 | 22 | 100
98 | LN_09_39 | 100 | BOG_30 | 2019-01-25 | 4 | 22 | 100
99 | LN_05_08 | 101 | BOG_31 | 2015-01-23 | 7 | 11 | 100
100 | LN_05_08 | 101 | BOG_31 | 2017-01-24 | 8 | 11 | 100
101 | LN_05_08 | 101 | BOG_31 | 2019-01-25 | 9 | 11 | 100
102 | LN_05_06 | 102 | BOG_32 | 2015-01-23 | 1 | 17 | 100
103 | LN_05_06 | 102 | BOG_32 | 2017-01-24 | 2 | 17 | 100
104 | LN_05_06 | 102 | BOG_32 | 2019-01-25 | 3 | 17 | 94
105 | LN_06_07 | 103 | BOG_33 | 2015-01-23 | 4 | 21 | 100
106 | LN_06_07 | 103 | BOG_33 | 2017-01-24 | 5 | 21 | 100
107 | LN_06_07 | 103 | BOG_33 | 2019-01-25 | 7 | 21 | 100
108 | LN_21_22 | 104 | BOG_34 | 2015-01-23 | 1 | 25 | 100
109 | LN_21_22 | 104 | BOG_34 | 2017-01-24 | 3 | 25 | 85
110 | LN_21_22 | 104 | BOG_34 | 2019-01-25 | 4 | 25 | 85
111 | LN_16_19 | 76 | BOG_6 | 2017-01-24 | 2 | 17 | 100
112 | LN_16_19 | 76 | BOG_6 | 2019-01-25 | 3 | 17 | 94
113 | LN_16_19 | 76 | BOG_6 | 2015-01-23 | 4 | 21 | 100

## Physical
Test_ID | Pos | Serial | Location | Date | Corrosion | Visual

## Service
Test_ID | Pos | Serial | Location | Date | Maintenance | Age

## _56F9DC9755BA473782653E2940F9 (hidden)
2MF_VyIJjkWHv-xPRV62AFp6FmJGvDJDlaNXvDlwm8NUQVQ5TFVKRllOUTRMWlBJS0syOUhLSFNOVi4u
Form1
{dcbd5c6e-e310-4cb1-a15e-380c47f2a6be}